Beijing Municipal Commission of Urban Management

Jing Guan Fa 〔2020〕 No. 3

The Regulation of Beijing Municipal Commission of City Management on Issuing the Detailed Rules for Management and Control Work for Ensuring the Reliability of the Electricity Grid Supply in Beijing (Trail)

To State Grid Beijing Electric Power Company,

In accordance with related state policies and regulations, as well as actual situation in Beijing, the Detailed Rules for Management and Control Work for Ensuring the Reliability of the Electricity Grid Supply in Beijing (Trail) are hereby formulated, with a view to further improving the management and control of electricity grid supply reliability in Beijing and management of power suspension planning. It’s hereby issued to you for your implementation.

The Rules are hereby issued.

Beijing Municipal Commission of City Management

February 21st, 2020

(This document is made public)

Detailed Rules for Management and Control Work for Ensuring the Reliability of the Electricity Grid Supply in Beijing (Trial)

Based on related laws and regulations on the management of state power supply reliability, time of resuming electrical grid supply, electricity supply services and other basic power supply indicators, the Detailed Rules for Management and Control Work for Ensuring the Reliability of the Electricity Grid Supply in Beijing (Trial) are hereby formulated to ensure the reliability of the electricity supply and improve power supply services in Beijing.

I. The management and control work for the reliability of the electricity supply

ⅰ. These Detailed Rules specify the control and management mode, statistics methods, punishment and awarding standards for electricity supply reliability indicators.

ⅱ. The electricity supply reliability indicators specified in these Detailed Rules are reviewed, confirmed and issued by national energy supervision authority.

ⅲ. The statistics methods for electricity supply reliability specified in these Detailed Rules are subject to the Reliability Evaluation Code in Power Supply System, Part 1: General Rules (DL/T836.1-2016) (hereinafter referred to as the “DL/T836.1-2016”) issued by the National Energy Administration and also meet the standard of the IEEE Guide for Electric Power Distribution Reliability Indices (IEEE 1366-2012) issued by the Institute of Electrical and Electronics Engineers (hereinafter referred to as the “IEEE 1366-2012”).

ⅳ. These Rules will award and punish those electricity companies by their annual System Average Interruption Duration Index (SAIDI) performance according to the following standards.

Table 1 Punishing and Awarding Standards for Electricity Supply Reliability in Beijing

| Management and control work | Management and control indicators | Management and control targets | Award and punishment standards |
| --- | --- | --- | --- |
| Reliability of the electricity supply | System average interruption duration index (SAIDI) | SAIDI is lower than national supervision value and lower over 10% compared with last year | CNY 2 million access income increased |
|  |  | SAIDI is lower than national supervision value and lower between 3%-10% (including 10%) compared with last year | CNY 1 million access income increased |
|  |  | SAIDI is lower than national supervision value and lower within 3% (including 3%) compared with last year | No awarding |
|  |  | SAIDI is higher than national supervision value | CNY 2 million access income deducted |

ⅴ. The calculation of system average interruption duration index (SAIDI) is subject to DL/T836.1-2016, specifically:

During the statistics period, time is calculated by annual total hours.

ⅵ.The following power interruption is excluded from the calculation of system average interruption duration index (SAIDI):

1) Such interruption is less than 3 minutes;

2) Interruption events are requested by the user or caused by the user internally;

3) Such interruption events are recognized by the government authority and meet the requirements of “major event day” defined by IEEE 1366-2012 standards.

II. Safeguarding measures for reliability of the electricity supply

ⅰ. You should strictly implement safeguarding and service policies formulated by the government for ensuring the reliability of the electricity supply, draft and fulfill related commitments for ensuring high-quality electricity supply services, release the service standards publicly both online and offline and improve management and service transparency for ensuring the reliability of the electricity supply.

ⅱ. You should strengthen the review and comprehensively balance the power interruption plan level by level, optimize the interruption schedule, continuously reduce the impacts of scheduled power outage on users and avoid repeated power outage.

ⅲ. You should improve management and control standards for scheduled power outage, expand the live-line work scope without power outage, continuously reduce annual SAIDI and annual frequency of power outage.

ⅳ. You should strengthen the operation and maintenance management of electrical grid equipment, eliminate the hidden dangers of equipment defects in a timely manner, reduce the faults caused by external construction, tree lines, floating objects and so on, and improve the reliable power supply capacity of electrical grid equipment.

ⅴ. You should strengthen the construction of smart electrical grid, give full play to the role of distribution automation system in rapid positioning, fault isolation and resumption of power supply at non-fault sections, minimize the scope of fault outage, and improve the reliability of urban electricity supply.

ⅵ. You should continuously improve the construction of emergency system, strengthen the coordination with relevant government authorities and among various departments, prepare for the emergency repair personnel and spare parts in advance, effectively improve the emergency response capacity and avoid long-term power failure.

Office of Beijing Municipal Commission of City Management  Issued on February 21, 2020

# Text boxes

Time of each interruption * number of users per interruption

Total number of users